{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["svitidla","služby"],"not_rendered":{"charts":0,"images":35,"macros":0,"external_links":1,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"svitidla","index":0,"n_rows":212,"n_cols":14,"rows_kept":212,"cut":false,"hidden":false,"merged":[[119,1,132,1],[1,1,1,2],[3,1,33,1],[35,1,57,1],[86,1,105,1],[59,1,65,1],[107,1,117,1],[67,1,84,1],[174,1,177,1],[180,1,183,1],[185,1,187,1],[189,1,194,1],[162,1,171,1],[134,1,141,1],[143,1,149,1],[151,1,160,1]],"flags":["formulas_cached_only"]}
[]
[null,null,null,"provedení / kód","název","vnější rozměr","vestavný rozměr","výzbroj","napětí","druh montáže","DMOC*\nbez DPH","Stmívání","LED výzbroj","příplatek LED"]
[]
[null,"quadra",null,"corona"]
[null,null,null,"12014.00","quadra corona  14","14x14x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1880,null,"8W/650lm",756]
[null,null,null,"12018.00","quadra corona  18","18x18x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2632.2000000000003,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"12030.00","quadra corona  30","30x30x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",3996,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"12050.00","quadra corona  50","50x50x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",7939.400000000001,2732.4,"62W/8040lm",4301.1]
[null,null,null,"12043.00","quadra corona 43","43x16x8cm","40x13x9cm","1x24W TC-L  2G11","230V","vestavné",3691.5,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"12064.00","quadra corona 64","64x20x8cm","60x16x9cm","1x55W TC-L  2G11","230V","vestavné",4397.7,1684.8000000000002,"37,5W/4134lm",2895.75]
[null,null,null,"12095.00","quadra corona 95","95x95x10cm","90x90x11cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[null,null,null,"12008.00","quadra LED corona 8","8x8x2cm","pr.6,8cm","1W LED","12V DC","vestavné",1102.1000000000001,null,"1W/98lm"]
[null,null,null,"12015.00","quadra LED corona 15","15x4x2,5cm","14,2x2,6x47cm","1,5W LED","12V DC","vestavné",1476.6000000000001,null,"1,5W/122lm"]
[]
[null,null,null,"aura"]
[null,null,null,"13016.00","quadra aura 16","16x16x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1890,null,"8W/650lm",756]
[null,null,null,"13020.00","quadra aura 20","20x20x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2675,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"13034.00","quadra aura 34","34x34x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",4215.8,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"13055.00","quadra aura 55","55x55x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",8367.4,2732.4,"62W/8040lm",4301.1]
[null,null,null,"13045.00","quadra aura 45","45x18x8cm","40x13x9cm","1x24W TC-L  2G11","230V","vestavné",3862.7000000000003,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"13066.00","quadra aura 66","66x22x8cm","60x16x9cm","1x55W TC-L  2G11","230V","vestavné",4718.700000000001,1684.8000000000002,"37,5W/4134lm",2895.75]
[null,null,null,"13099.00","quadra aura 99","99x99x10cm","90x90x11cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[null,null,null,"13009.00","quadra LED aura 9","9,5x9,5x3cm","5,7x5,7x5cm","1W LED","12V DC","vestavné",1102.1000000000001,null,"1W/98lm"]
[null,null,null,"13016.00","quadra LED aura 16","16,8x6x2,5cm","14,2x2,6x4cm","1,5W LED","12V DC","vestavné",1476.6000000000001,null,"1,5W/122lm"]
[]
[null,null,null,"silky"]
[null,null,null,"14014.00","quadra silky 14","14x14x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1890,null,"8W/650lm",756]
[null,null,null,"14018.00","quadra silky 18","18x18x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2717.8,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"14030.00","quadra silky 30","30x30x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",4119.5,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"14050.00","quadra silky 50","50x50x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",7251.39,2732.4,"62W/8040lm",4301.1]
[null,null,null,"14043.00","quadra silky 43","43x16x8cm","40x13x9cm","1x24W TC-L  2G11","230V","vestavné",3766.4,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"14064.00","quadra silky 64","64x20x8cm","60x16x9cm","1x55W TC-L  2G11","230V","vestavné",4526.1,1684.8000000000002,"37,5W/4134lm",2895.75]
[null,null,null,"14008.00","LED SILKY Q 8","8x8x2cm","pr.6,8cm","1W LED","12V DC","vestavné",1187.7,null,"1W/98lm"]
[null,null,null,"14015.00","quadra LED silky 15","15x4x2,5cm","14,2x2,6x47cm","1,5W LED","12V DC","vestavné",1551.5,null,"1,5W/122lm"]
[]
[null,"retro",null,"corona"]
[null,null,null,"15014.00","retro corona 14","14x14x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1890,null,"8W/650lm",756]
[null,null,null,"15018.00","retro corona 18","18x18x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2653.6000000000004,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"15032.01","retro corona 32","32x32x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",4194.400000000001,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"15054.00","retro corona 54","54x54x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",8292.5,2732.4,"62W/8040lm",4301.1]
[null,null,null,"15110.00","retro corona 110","110x110x10cm","90x90x11cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[null,null,null,"15008.00","retro LED corona 8","8x8x2cm","pr.6,8cm","1W LED","12V DC","vestavné",1123.5,null,"1W/98lm"]
[]
[null,null,null,"aura"]
[null,null,null,"16016.00","retro aura 16","16x16x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1890,null,"8W/650lm",756]
[null,null,null,"16020.00","retro aura 20","20x20x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2782,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"16035.00","retro aura 35","35x35x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",4237.2,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"16057.00","retro aura 57","57x57x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",8249.7,2732.4,"62W/8040lm",4301.1]
[null,null,null,"16115.00","retro aura 115","115x115x10cm","90x90x11cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[null,null,null,"16009.00","retro LED aura 9","9,5x9,5x3cm","5,7x5,7x5cm","1W LED","12V DC","vestavné",1134.2,null,"1W/98lm"]
[]
[null,null,null,"silky"]
[null,null,null,"17014.00","retro silky 14","14x14x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",1890,null,"8W/650lm",756]
[null,null,null,"17018.00","retro silky 18","18x18x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2717.8,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"17032.00","retro silky 32","32x32x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",4226.5,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"17054.00","retro silky 54","54x54x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",8292.5,2732.4,"62W/8040lm",4301.1]
[null,null,null,"17008.00","retro LED silky 8","8x8x2cm","pr.6,8cm","1W LED","12V DC","vestavné",1177,null,"1W/98lm"]
[]
[]
[null,"zig-zag",null,"ZIG ZAG"]
[null,null,null,"18022.00","zig zag 22","22x21x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",2846.2000000000003,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"18044.00","zig zag 44","44x42x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",5745.900000000001,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"18072.00","zig zag 72","72x69x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",8388.800000000001,2732.4,"62W/8040lm",4301.1]
[null,null,null,"18128.00","zig zag 128","128x123x8cm","90x90x9cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[]
[null,null,null,"18010.00","zig zag LED 10","10x9x2cm","pr.6,8cm","1WLED","12V DC","vestavné",1134.2,null,"1W/98lm"]
[]
[null,"UP",null,"corona"]
[null,null,null,"19020.00","up corona 20","20x20x6cm","-","1x24W TC-F  2G10","230V","přisazené/nástěnné",4205.1,null,"15W/2000lm",949.725]
[null,null,null,"19035.00","up corona 35","35x35x6cm","-","2x36W TC-F  2G10","230V","přisazené/nástěnné",6751.700000000001,null,"23W/3007lm",1717.2]
[null,null,null,"19050.00","up corona 50","50x50x6cm","-","4x36W TC-L  2G11","230V","přisazené/nástěnné",10400.400000000001,2732.4,"62W/8040lm",4301.1]
[null,null,null,"19040.00","up corona 40","40x12x6cm","-","1x24W TC-L  2G11","230V","přisazené/nástěnné",4237.2,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"19062.00","up corona 62","62x18x6cm","-","1x55W TC-L  2G11","230V","přisazené/nástěnné",6088.3,1684.8000000000002,"37,5W/4134lm",2895.75]
[null,null,null,"19095.00","up corona 95","95x95x10cm","-","4x39W T5  G5","230V","přisazené/nástěnné","**",2281.5,"124W/14800lm",8046.000000000001]
[]
[null,null,null,"19010.00","up LED corona 10","10x10x6cm","-","1x4W power LED","230V","přisazené/nástěnné",2396.8,null,"4W/320lm"]
[]
[null,null,null,"aura"]
[null,null,null,"20020.00","up aura 20","20x20x6cm","-","1x24W TC-F  2G10","230V","přisazené/nástěnné",4205.1,null,"15W/2000lm",949.725]
[null,null,null,"20035.00","up aura 35","35x35x6cm","-","2x36W TC-F  2G10","230V","přisazené/nástěnné",6751.700000000001,null,"23W/3007lm",1717.2]
[null,null,null,"20050.00","up aura 50","50x50x6cm","-","4x36W TC-L  2G11","230V","přisazené/nástěnné",10475.300000000001,2732.4,"62W/8040lm",4301.1]
[null,null,null,"20040.00","up aura 40","40x12x6cm","-","1x24W TC-L  2G11","230V","přisazené/nástěnné",4237.2,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"20062.00","up aura 62","62x18x6cm","-","1x55W TC-L  2G11","230V","přisazené/nástěnné",6173.900000000001,1684.8000000000002,"37,5W/4134lm",2895.75]
[null,null,null,"20095.00","up aura 95","95x95x10cm","-","4x39W T5  G5","230V","přisazené/nástěnné","**",2281.5,"124W/14800lm",8046.000000000001]
[]
[]
[null,"mystic",null,"meridia"]
[null,null,null,"22055.00","mystic meridia 55","55x55x7cm","-","1x55W T16-R  2Gx13","230V","přisazené",11545.300000000001,1684.8000000000002,"31W/4004lm",2276.1000000000004]
[null,null,null,"22065.00","mystic meridia 65","65x65x7cm","-","1x55W T16-R  2Gx13","230V","přisazené",13960,1684.8000000000002,"31W/4004lm",2276.1000000000004]
[null,null,null,"22085.00","mystic meridia 85","85x85x7cm","-","4x24W TC-L  2G11","230V","přisazené",22994.300000000003,2543.4,"62,5W/8008lm",4114.8]
[]
[]
[null,null,null,"dione"]
[null,null,null,"22113.00","mystic dione 113","113x32x2cm","závěs 200cm","2x39W T5  G5","230V","závěsné",13991,1691.5500000000002,"3528lm",2551.5]
[null,null,null,"22150.00","mystic dione 150","150x50x2cm","závěs 200cm","2x39W T5  G5","230V","závěsné",21795.9,1691.5500000000002,"3528lm",2551.5]
[null,null,null,"22150.00+LED","mystic dione 150","150x50x2cm","závěs 200cm","2x39W T5  G5 + LED 15W","230V","závěsné",24214.100000000002,1691.5500000000002,"3650lm",2775.6000000000004]
[]
[null,null,null,"metis"]
[null,null,null,"22032.00","mystic metis 32","32x32x6cm","-","1x16W CF-L GR10q","230V","nástěnné",4151.6,null,"15W/2000lm",949.725]
[null,null,null,"22068.00","mystic metis 68","68x8x5cm","-","1x24W SLS G5","230V","nástěnné",5210.900000000001,null,"11,5W/1232lm",1687.5]
[null,null,null,"22098.00","mystic metis 98","98x8x5cm","-","1x21W SLS G5","230V","nástěnné",6548.400000000001,null,"15,5W/1760lm",2076.3]
[null,null,null,"22128.00","mystic metis 128","128x8x5cm","-","1x28W SLS G5","230V","nástěnné",10432.5,null,"19,5W/2280lm",2465.1000000000004]
[]
[null,null,null,"IO"]
[null,null,null,"22010.00","mystic io 10","11x11x2cm","pr. 8cm/hl.8cm","8W Power led","230V","vestavné",1979.5000000000002,null,"8W/650lm"]
[null,null,null,"22011.00","mystic io 10","11x11x2cm","pr. 8cm/hl.8cm","8W Power led","230V","vestavné",1979.5000000000002,null,"8W/650lm"]
[]
[null,"x-line",null,"zen"]
[null,null,null,"23518__","x-line zen 18","48x18x8cm","-","1x18W TC-L  2G11","230V","přisazené/nástěnné",3723.6000000000004,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"23537__","X-line zen 37","37x37x8cm","-","2x18W TC-L  2G11","230V","přisazené/nástěnné",4376.3,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"23548__","x-line zen 48","48x48x8cm","-","2x24W TC-L  2G11","230V","přisazené/nástěnné",4654.5,1768.5000000000002,"23W/3007lm",1717.2]
[null,null,null,"04 - bílá","05 - černá"]
[]
[null,null,null,"colour"]
[null,null,null,"23018…","x-line colour 18","48x18x8cm","-","1x18W TC-L  2G11","230V","přisazené/nástěnné",3959.0000000000005,1695.6000000000001,"25W/2756lm",2097.9]
[null,null,null,"23037…","x-line colour 37","37x37x8cm","-","2x18W TC-L  2G11","230V","přisazené/nástěnné",4815,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"23048…","x-line colour 48","48x48x8cm","-","2x24W TC-L  2G11","230V","přisazené/nástěnné",5114.6,1768.5000000000002,"23W/3007lm",1717.2]
[null,null,null,"06 - červená","07 - zelená","08 - modrá","09 - růžová","10 - žlutá","11 - fialová","12 - oranžová"]
[]
[null,"ledissimo",null,"direct"]
[null,null,null,"24010.00","ledissimo direct 10","68x28x2cm","-","10x2W LED ","230V","závěsné",10667.900000000001,null,"20W/1720lm"]
[null,null,null,"24013.00","ledissimo direct 13","88x28x2cm","-","13x2W LED ","230V","závěsné",12572.5,null,"26W/2236lm"]
[null,null,null,"24017.00","ledissimo direct 17","68x48x2cm","-","17x2W LED ","230V","závěsné",15268.900000000001,null,"34W/2924lm"]
[null,null,null,"24022.00","ledissimo direct 22","88x48x2cm","-","22x2W LED ","230V","závěsné",18532.4,null,"44W/3784lm"]
[null,null,null,"24014.00","ledissimo direct 14","48x68x2cm","-","13x2W LED ","230V","závěsné",13856.5,null,"26W/2236lm"]
[]
[null,null,null,"indirect"]
[null,null,null,"24110.00","ledissimo Indirect 10","68x28x2cm","-","10x2W LED ","230V","závěsné",10667.900000000001,null,"20W/1720lm"]
[null,null,null,"24113.00","ledissimo Indirect 13","88x28x2cm","-","13x2W LED ","230V","závěsné",12572.5,null,"26W/2236lm"]
[null,null,null,"24117.00","ledissimo Indirect 17","68x48x2cm","-","17x2W LED ","230V","závěsné",15268.900000000001,null,"34W/2924lm"]
[null,null,null,"24122.00","ledissimo Indirect 22","88x48x2cm","-","22x2W LED ","230V","závěsné",18532.4,null,"44W/3784lm"]
[null,null,null,"24114.00","ledissimo Indirect 14","48x68x2cm","-","14x2W LED ","230V","závěsné",13856.5,null,"26W/2236lm"]
[]
[]
[null,"mercur",null,"mercur"]
[null,null,null,"43475.00","mercur linie LED 475","7x47x8cm","8x48x10","15W LED","12VDC","vestavné",3180,null,"8,2W/974lm"]
[null,null,null,"42775.00","mercur linie LED 775","7x77x8cm","8x78x10","24W LED","12VDC","vestavné",3930,null,"13,2W/1589lm"]
[null,null,null,"41107.00","mercur linie LED 1075","7x107x8cm","8x108x10","33W LED","12VDC","vestavné",4220,null,"18,3W/2205lm"]
[null,null,null,"40137.00","mercur linie LED 1375","7x137x8cm","8x138x10","42W LED","12VDC","vestavné",5070,null,"23,4W/2818lm"]
[]
[null,null,null,"50475.00","MERCUR LINIE LED - SESTAVA",{"$nulls":5},"**"]
[]
[]
[null,"lotus",null,"lotus"]
[null,null,null,"50085.05","lotus 85 černá","85x68x2cm","4450lm","54W LED","230V","závěsné",21196.7,null,"54W/4450lm"]
[null,null,null,"50125.05","lotus 125 černá","125x105x2cm","5340lm","62W LED","230V","závěsné",31211.9,null,"62W/5340lm"]
[{"$nulls":10},0]
[null,null,null,"50085.04","lotus 85 bílá","85x68x2cm","4450lm","54W LED","230V","závěsné",21196.7,null,"54W/4450lm"]
[null,null,null,"50125.04","lotus 125 bílá","125x105x2cm","5340lm","62W LED","230V","závěsné",31211.9,null,"62W/5340lm"]
[null,null,null,"přívodní textilní kabel možno dodat v barvě bílé,černé,červené"]
[]
[null,"tube",null,"tube"]
[null,null,null,"67536.00","tube 75/360","pr. 7,5x36 cm","-","LED GU10/5W/50mm","230V","přisazené",3376.92,null,"4W/320lm"]
[null,null,null,"67552.00","tube75/520","pr. 7,5x52 cm","-","LED GU10/5W/50mm","230V","přisazené",3710.76,null,"4W/320lm"]
[null,null,null,"67574.00","tube 75/740","pr. 7,5x74 cm","-","LED GU10/5W/50mm","230V","přisazené",3985.7500000000005,null,"4W/320lm"]
[null,null,null,"61043.00","tube 105/430","pr. 10,5x43 cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",3915.13,null,"8W/650lm"]
[null,null,null,"61060.00","tube 105/600","pr. 10,5x60 cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",4245.76,null,"4W/320lm"]
[null,null,null,"61086.00","tube 105/860","pr. 10,5x86 cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",4553.92,null,"8W/650lm"]
[null,null,null,"61250.00","tube 120/500","pr. 12x50cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",4444.780000000001,null,"8W/650lm"]
[null,null,null,"61270.00","tube 120/700","pr. 12x70cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",5200.200000000001,null,"8W/650lm"]
[null,null,null,"61210.00","tube 120/1000","pr. 12x100cm","-","Ref LED PAR 30/11W/95mm","230V","přisazené",5870.02,null,"8W/650lm"]
[]
[null,"infos",null,"infos"]
[null,null,null,"16014.00","infos  14","14x14x8cm","13x13x9cm","2X15 W E27 ","230V","vestavné",3017.4,null,"8W/650lm",756]
[null,null,null,"16018.00","infos  18","18x18x8cm","15x15x9cm","1x18W TC-F  2G10","230V","vestavné",3945.09,1817.1000000000001,"15W/2000lm",949.725]
[null,null,null,"16030.00","infos  30","30x30x8cm","27x27x9cm","2x24W TC-F  2G10","230V","vestavné",6147.150000000001,1782.0000000000002,"15,5W/2010lm",1206.9]
[null,null,null,"16050.00","infos  50","50x50x8cm","44x44x9cm","4x36W TC-L  2G11","230V","vestavné",11756.09,2732.4,"62W/8040lm",4301.1]
[null,null,null,"16043.00","infos 43","43x16x8cm","40x13x9cm","1x24W TC-L  2G11","230V","vestavné",6339.75,1695.6000000000001,"46,3W/2756lm",2097.9]
[null,null,null,16064,"infos 64","64x20x8cm","60x16x9cm","1x55W TC-L  2G11","230V","vestavné",6596.55,1684.8000000000002,"58,8W/4134lm",2895.75]
[null,null,null,"16095.00","infos 95","95x95x10cm","90x90x11cm","4x39W T5  G5","230V","vestavné","**",2281.5,"124W/14800lm",8046.000000000001]
[null,null,null,"16008.00","infos 8","8x8x2cm","pr.6,8cm","1W LED","12V DC","vestavné",1387.7900000000002,null,"1W/98lm"]
[null,null,null,"16015.00","infos 15","15x4x2,5cm","14,2x2,6x47cm","1,5W LED","12V DC","vestavné",1845.75,null,"1,5W/122lm"]
[null,null,null,"16016.00","infos 16","15x4x2,5cm","14,2x2,6x47cm","1,5W LED - stropní praporek","12V DC","vestavné",1845.75,null,"1,5W/122lm"]
[]
[null,"entity",null,"entity"]
[null,null,null,"70085.05","entity I.  (15-30cm)","pr.15,5x13,5cm","pr.15,7x13,5cm","4W/320lm LED","230V","vestavné",6890,null,"4W/320lm"]
[null,null,null,"70125.05","entity II. (30-90cm)","pr.22x13,5cm","pr.22,2x13,5cm","8W/650lm LED ","230V","vestavné",9870,null,"8W/650lm"]
[]
[{"$nulls":10},0]
[null,null,null,"planktON"]
[null,"planktON",{"$nulls":5},"LED",null,"vestavné",65000]
[]
[]
[{"$nulls":7},"zakázková výroba (různé varianty tvarů a rozměrů)"]
[]
[null,"lumijoy",null,"lumijoy"]
[null,null,null,"70001.00","lumijoy","20x15x20cm","456lm","4,9W LED","230V","stolní",3883.5,null,"4,9W/456lm"]
[null,null,null,"Příběh s nejasným koncem"]
[]
[null,"moon",null,"moon"]
[null,null,null,"80095.00","moon 95","pr.95x12cm","6500lm","59W/LED","230V","závěsné","**",null,"59W/6500lm"]
[null,null,null,"80125.00","moon 125","pr.125x12cm","8600lm","78W/LED","230V","závěsné","**",null,"78W/8600lm"]
[null,null,null,"80155.00","moon 155","pr.155x12cm","12400lm","113W/LED",null,"závěsné","**",null,"113W/12400lm"]
[{"$nulls":7},"Jiné rozměry jsme schopni vyrobit na zakázku"]
[{"$nulls":6},"Neprůhledný bok svítidla  možné dodat v různých barevných odstínech."]
[]
[null,"* MOC: doporučená maloobchodní cena"]
[null,"** Cena na dotaz - atyp výroba"]
[null,"Povrchová úprava standard: 00-nerez "]
[null,"Povrchová úprava na doptání: 01-nerez lesk, 02-Alu elox, 03-RAL, 04-bílá, 05-černá"]
[]
[null,null,"T1204K","Zdroj LED","12V DC 0,42A  5W","IP65","58x24mm","ochrana proti přetížení/ochrana proti zkratu",null,null,278.0823]
[null,null,"T1215K","Zdroj LED","12V DC 1,25A  15W","IP65","140x25,5x26mm","ochrana proti přetížení/ochrana proti zkratu",null,null,359.8731]
[null,null,"T1230K","Zdroj LED","12V DC 2,5A  30W","IP65","200x25,5x26mm","ochrana proti přetížení/ochrana proti zkratu",null,null,588.8905500000001]
[null,null,15010,"Zdroj 60W","12V DC 60W","IP20","99x82x35mm"," ochrana proti přetížení/ochrana proti zkratu",null,null,417.82965]
[null,null,15011,"Zdroj 100W","12V DC 100W","IP20","99x82x35mm"," ochrana proti přetížení/ochrana proti zkratu",null,null,497.4216]
[null,null,15012,"Zdroj 150W","12V DC 150W","IP20","129x98x38 mm"," ochrana proti přetížení/ochrana proti zkratu",null,null,559.7598]
[]
[null,null,"PŘÍPLATEK ZA KRYTÍ IP 44"]
[null,null,"12010.01","A","Krytí IP 44",null,null,null,216]
[null,null,"12020.01","B","Krytí IP 44",null,null,null,320]
[null,null,"12030.01","C","Krytí IP 44",null,null,null,410]

{"sheet":"služby","index":1,"n_rows":11,"n_cols":2,"rows_kept":11,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"Další služby"]
[]
[null,"Návrhy osvětlení"]
[]
[null,"http://www.luxlighting.cz/navrhy-osvetleni"]
[]
[null,"Toužíte po funkčně a harmonicky navrženém osvětlení pro váš interiér???"]
[null,"Zpracujeme vám studii pro daný prostor,fotorealistickou 3D vizualizaci a technickou dokumentaci-"]
[null,"vše pro dotvoření celkového designu vašeho bytu,obchodu či kanceláře.Pro návrh využijeme"]
[null,"modelové řady Lux Lighting nebo vyrobíme světla přesně podle vašich požadavků a představ."]